Water Quality Management Plan

(WQMP)

<Use for Public Agency Streets, Roads, Highways, Freeways, and

Above Ground Linear Drainage Projects>

Project Name:

Prepared by:

Insert Public Agency Name-then TAB.

Insert Address 1 then press ENTER to insert Address 2 or TAB to next field.

Insert City, State, ZIP-then TAB.

Insert Telephone-then TAB.

Prepared by:

Insert Consulting/Engineering Firm Name-then TAB.

Engineer _______________ Registration No.________ (optional if not used)

Insert Address-then TAB.

Insert City, State, ZIP-then TAB.

Insert Telephone-then TAB

August 16, 2011

Water Quality Management Plan

(WQMP)

This Water Quality Management Plan (WQMP) has been prepared for/ by Public Agency Name by Consulting/Engineering Firm Name.  The WQMP is intended to comply with the requirements of the local NPDES Stormwater Program requiring the preparation of the plan.

This project is a street, road, highway or freeway of 5,000 square feet or more of paved surface or an above ground linear lined drainage project.  Above ground linear lined drainage projects typically consist of lined vertical or trapezoidal channels.  These projects may result in the creation of more than 10,000 square feet of impervious surface and have BMP implementation constraints similar to streets, roads, highways and freeways and must implement similar practices.

Public Agency Name is responsible for the implementation of the provisions of this plan and will ensure that this plan is amended as appropriate to reflect up-to-date conditions on the site consistent with the current Orange County Drainage Area Management Plan (DAMP) and the intent of the non-point source NPDES Permit for Waste Discharge Requirements for the County of Orange, Orange County Flood Control District and the incorporated Cities of Orange County within the Santa Ana Region.  An appropriate number of approved and signed copies of this document shall be available on the subject site in perpetuity.

| Public Agency Responsible Manager: |  |  |  |
| --- | --- | --- | --- |
| Name/ Title |  |  |  |
| Address |  |  |  |
| Email |  |  |  |
| Telephone # |  |  |  |
| Signature |  | Date |  |

Contents										Page No.

Section I Discretionary Permit(s) and Water Quality Conditions	3

Section II Project Description	4

Section III Site Description	8

Section IV Best Management Practices (BMPs)	10

Section V Inspection/Maintenance Responsibility for BMPs	15

Section VI Site Plan and Drainage Plan	17

Section I	Discretionary Permit(s) and

Water Quality Conditions

Provide discretionary permit and water quality information. Refer to Section 2.1 in the Technical Guidance Document (TGD) available from the Orange County Stormwater Program (ocwatersheds.com).

| Project Infomation |  |  |  |
| --- | --- | --- | --- |
| CIP /Project No. |  |  |  |
| Additional Information/ Comments: |  |  |  |
| Water Quality Conditions |  |  |  |
| Water Quality Conditions (list verbatim) |  |  |  |
| Watershed-Based Plan Conditions |  |  |  |
| Provide applicable conditions from watershed - based plans including WIHMPs and TMDLS. |  |  |  |

Section II	Project Description

## II.1	Project Description

Provide a detailed project description including:

- Project areas;

- Land uses;

- Land cover;

- Design elements;

- A general description not broken down by drainage management areas (DMAs).

Include attributes relevant to determining applicable source controls. Refer to Section 2.2 in the TGD for information that must be included in the project description.

| Description of Proposed Project |  |  |  |  |
| --- | --- | --- | --- | --- |
| Development Category (Verbatim from WQMP): |  |  |  |  |
| Project Area (ft2): _______ | SIC Code: __________ |  |  |  |
| Narrative Project Description: |  |  |  |  |
| Project Area | Pervious |  | Impervious |  |
|  | Area (acres or sq ft) | Percentage | Area (acres or sq ft) | Percentage |
| Pre-Project Conditions |  |  |  |  |
| Post-Project Conditions |  |  |  |  |
| Drainage Patterns/Connections |  |  |  |  |

## II.2	Potential Stormwater Pollutants

Determine and list expected stormwater pollutants based on land uses and site activities. Refer to Section 2.2.2 and Table 2.1 in the TGD for guidance.

| Pollutants of Concern |  |  |  |
| --- | --- | --- | --- |
| Pollutant | Circle One: E=Expected to be of concern N=Not Expected to be of concern |  | Additional Information and Comments |
| Suspended-Solid/ Sediment | E | N |  |
| Nutrients | E | N |  |
| Heavy Metals | E | N |  |
| Pathogens (Bacteria/Virus) | E | N |  |
| Pesticides | E | N |  |
| Oil and Grease | E | N |  |
| Toxic Organic Compounds | E | N |  |
| Trash and Debris | E | N |  |

## II.3	Hydrologic Conditions of Concern

Determine if streams located downstream from the project area are determined to be potentially susceptible to hydromodification impacts. Refer to Section 2.2.3.1 in the TGD.

No – Show map

Yes – Describe applicable hydrologic conditions of concern below. Refer to Section 2.2.3 in the TGD.

## II.4	Post Development Drainage Characteristics

Describe post development drainage characteristics. Refer to Section 2.2.4 in the TGD.

Section III	Site Description

## III.1	Physical Setting

Fill out table with relevant information. Refer to Section 2.3.1 in the TGD.

| Planning Area/ Community Name |  |
| --- | --- |
| Location/Address |  |
| Land Use |  |
| Zoning |  |
| Acreage |  |
| Predominant Soil Type |  |

## III.2	Site Characteristics

Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.7.1 in the TGD.

| Ownership of Land Adjacent to Right of Ways |  |
| --- | --- |
| Topography/Longitudinal Slope |  |
| Grade differential between road surface and storm drain system. |  |
| Soil Type, Geology, and Infiltration Properties |  |

| Site Characteristics (continued) |  |
| --- | --- |
| Hydrogeologic (Groundwater) Conditions |  |
| Geotechnical Conditions (relevant to infiltration) |  |
| Maintenance Access Considerations |  |
| Utility and Infrastructure Information |  |

## III.3	Watershed Description

Fill out table with relevant information and include information regarding BMP sizing, suitability, and feasibility, as applicable. Refer to Section 2.3.3 in the TGD.

| Receiving Waters |  |
| --- | --- |
| 303(d) Listed Impairments |  |
| Applicable TMDLs |  |
| Pollutants of Concern for the Project |  |
| Environmentally Sensitive and Special Biological Significant Areas |  |

Section IV	Best Management Practices (BMPs)

## IV. 1	Project Performance Criteria

The Project will incorporate United States Environmental Protection Agency (USEPA) guidance, “Managing Wet Weather with Green Infrastructure: Green Streets” as described in the Model WQMP Appendix B, in a manner consistent with the maximum extent practicable (MEP) standard.  This approach includes:

- Selecting LID BMPs that integrate with both the opportunities and constraints of the project site and to attempt to address pollutants of concern and HCOCs,

- Developing innovative stormwater management configurations integrating “green” with “grey” infrastructure,

- Sizing BMPs opportunistically to provide stormwater pollution reduction to the MEP, accounting for the many competing considerations in right of ways.

Describe project performance criteria. This includes:

- If applicable, determine applicable hydromodification control performance criteria. Refer to Section 7.II-2.4.2.2 of the Model WQMP

- The standard LID hierarchy described in Section 7.II-2.4.3 of the Model WQMP is not applicable to this project and is replaced by considering all feasible LID approaches listed in the Green Streets manual.

- Calculate the target LID design storm capture volume for the project. The target is that Priority Projects infiltrate, harvest and use, evapotranspire, or biotreat/biofilter, the 85th percentile, 24-hour storm event (Design Capture Volume) to Section 7.II-2.4.3 of the Model WQMP

| Project Performance Criteria (continued) |  |
| --- | --- |
| If HCOC exists, list applicable hydromodification control performance criteria (Section 7.II-2.4.2.2 in MWQMP) |  |
| Calculate target LID design storm capture volume for Project (Section 7.II-2.4.3 from MWQMP). |  |

IV.2.		SITE DESIGN AND DRAINAGE PLAN

Describe site design and drainage plan including

- A narrative of site design practices utilized or rationale for not using practices.

- A narrative of how site is designed to allow BMPs to be incorporated to the MEP.

- A table of DMA characteristics and list of LID BMPs proposed in each DMA.

- Reference to the WQMP plot plan.

- A listing of GIS coordinates for LID BMPs (unless not required by local jurisdiction).

Refer to Section 2.4.2 in the TGD.

IV.3	LID BMP SELECTION AND PROJECT CONFORMANCE ANALYSIS

### IV.3.1	Green Street / Linear Project BMPs

The following is a list of potential BMPs that may be applicable. Check the BMPs included. Refer to 2.7.2 in the TGD.

| Name | Included? |
| --- | --- |
| Street trees (canopy interception) |  |
| Stormwater Curb Extensions / Stormwater Planters |  |
| Bioretention Areas |  |
| Permeable Pavement |  |
| Permeable Friction Course Overlays |  |
| Vegetated Swales (compost amended were possible) |  |
| Filter strips (amended road shoulder) |  |
| Proprietary Biotreatment |  |
| Infiltration Trench |  |
| Cartridge Media Filters |  |
| WSDOT Media Filter Drains |  |
| Other: |  |
| Other: |  |
| Other: |  |

Describe how the selected BMPs conform to the North Orange County Permit requirement to implement Green Streets in a manner consistent with the MEP standard.  Show calculations below to demonstrate how much of the LID Design Capture Volume can be met with the selected BMPs. Where the BMPs cannot be designed to capture the entire DCV, provide a narrative explanation(s) of constraining factors that prevented full capture from being achieved.

### IV.3.2	Hydromodification Control BMPs

Describe hydromodification control BMPs. See Section 5 TGD.  Include sections for selection, suitability, sizing, and infeasibility, as applicable. Detail compliance with Prior Conditions of Approval. <Delete or leave blank if no HCOCs exist >

| Hydromodification Control BMPs |  |
| --- | --- |
| BMP Name | BMP Description |

### IV.3.3	Non-structural Source Control BMPs

Fill out non-structural source control check box forms or provide a brief narrative explaining if non-structural source controls were not used.

| Non-Structural Source Control BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| Identifier | Name | Check One |  | If not applicable, state brief reason |
|  |  | Included | Not Applicable |  |
| N3 | Right-of-Way Landscape Management |  |  |  |
| N4 | BMP Maintenance |  |  |  |
| N11 | Right-of-Way Litter Control |  |  |  |
| N12 | Employee Training |  |  |  |
| N14 | Right-of-Way Catch Basin Inspection |  |  |  |
| N15 | Street Sweeping |  |  |  |

IV.3.4  Structural Source Control BMPs

Fill out structural source control check box forms or provide a brief narrative explaining if structural source controls were not used.

| Structural Source Control BMPs |  |  |  |  |
| --- | --- | --- | --- | --- |
| Identifier | Name | Check One |  | If not applicable, state brief reason |
|  |  | Included | Not Applicable |  |
| S1 | Provide storm drain system stenciling and signage |  |  |  |
| S4 | Use efficient irrigation systems & landscape design, water conservation, smart controllers, and source control |  |  |  |
| S5 | Protect slopes and channels and provide energy dissipation |  |  |  |
| S12 | Hillside landscaping |  |  |  |

Section V	Inspection/Maintenance Responsibility for BMPs

Fill out information in table below. Prepare and attach an Operation and Maintenance Plan.  Identify the mechanism through which BMPs will be maintained. Inspection and maintenance records must be kept for a minimum of five years for inspection by the regulatory agencies. Refer to Section 7.II 4.0 in the Model WQMP.

| BMP Inspection/Maintenance |  |  |  |
| --- | --- | --- | --- |
| BMP | Reponsible Department / Party(s) | Inspection/ Maintenance Activities Required | Minimum Frequency of Activities |

| BMP Inspection/Maintenance |  |  |  |
| --- | --- | --- | --- |
| BMP | Reponsible Department/ Party(s) | Inspection/ Maintenance Activities Required | Minimum Frequency of Activities |

Section VI	Site Plan and Drainage Plan

VI.1	SITE PLAN AND DRAINAGE PLAN

Include a site plan and drainage plan sheet set containing the following minimum information:

- Project location

- Site boundary

- Land uses and land covers, as applicable

- Suitability/feasibility constraints

- Structural BMP locations

- Drainage delineations and flow information

- Drainage connections

- BMP details